## Sheet1
HLAC Standards
BASIC ELEMENTS
1. Textile Control Procedures |  |  |  |  | Not Addressed
| 1.1. Textile Specifications |  |  |  | Not Applicable
| 1.1.1. The provider shall have written textile specifications that meet customer needs and ensure consistent performance. |  |  |  | Done
| 1.1.1.1. For customer-owned goods (COG), the provider should obtain textile specifications from the |  |  |  | Needs more attention
customer and resolve any questions or concerns prior to agreeing to a contract.
1.1.1.2. These specifications shall be reviewed, at a minimum, annually by the service provider and the customer.
1.1.2. Provider/customer contracts shall be on file, signed by both entities and dated, and specify the
process details and extent of service for the contract period.
1.1.3. The provider shall have a documented biohazard communication system, identifying soiled healthcare textiles using color-coding and/or labeling and adhere to Universal Precautions. (OSHA 29 CFR
1910.1030.(d)(4)(iv)(A)(2)
1.1.3.1. This documentation shall be accessible where personnel may refer to it.
1.2. Textile Maintenance
1.2.1. The provider shall have a documented grading system, outlining the grading standards for the healthcare textiles being processed.
1.2.1.1. The documentation shall be accessible where personnel may refer to it.
1.2.2. Providers processing COG textiles shall comply with pre-established textile maintenance
standards as specified by each customer, including consideration of the textile manufacturer’s instructions.
1.2.3 These standards shall outline which defects may be repaired, which defects require replacement, and the point at which previously repaired textiles should be discarded.
1.2.4. The provider shall ensure that all personnel having responsibility for making repair and replacement decisions understand and comply with the grading standards.
1.3. Provider Inventory Management
1.3.1. The provider and customer shall jointly determine the par level for the facility, whereupon the
provider shall use an inventory management system that ensures an adequate supply of clean textiles to meet the customer’s and end-users’ needs.
1.3.2. Methods to insure that an adequate supply of linen is available to the provider and customer
shall include documentation of historical fill rates for rental operations and/or documentation of clean pounds shipped as a percentage of soil pounds received for COG operations.
1.3.3. Providers and customers shall document in writing provision of inventory for situations where increased need (i.e., surge capacity in response to disaster) is anticipated and what adjustments are acceptable.
2. Laundry Facilities
· Physical design, ventilation, fixtures and signage
o Processing of soiled textiles flows to clean textiles, physical layout and maintenance procedures shall ensure efficiency, minimize environmental contamination, and |  |  |  |  | Good
protect the material and hygienic integrity of the processed textiles
o Soiled textiles area
§ Facility design must have separation of areas that receive, store, or process soiled textiles from areas that process, handle or store clean textiles |  |  |  |  | Good
· Physical Barrier (barrier wall) which includes positive air flow from the clean to the soiled and vents directly outside |  |  |  |  | Good
· Functional Barrier by utilizing positive air flow from the clean to the soiled and vents directly outside |  |  |  |  | Good
§ The physical design/layout of the soiled sorting shall be designed to permit orderly soiled sorting and other processes |  |  |  |  | Good
§ Signs warning about presence of contaminated textiles and the need to follow Universal Precautions must be posted in work and storage areas where potentially |  |  |  |  | Needs more attention
contaminated textiles are stored and processed
§ Hand washing facilities must be located in all areas where soiled or contaminated textiles are handled |  |  |  |  | Good
§ Emergency eyewash equipment must be available with unobstructed access (w/in 10 sec) in all areas where soiled textiles are processed |  |  |  |  | Good
o Clean Textile staging and storing areas
§ Staging and storage areas must comply with following spec
· Free of vermin |  |  |  |  | ?
· Devoid of lint |  |  |  |  | ?
· Without obvious moisture contamination |  |  |  |  | ?
§ Ventilation of staging /storage areas shall
· Be designed to prevent accumulation of dust and lint |  |  |  |  | Good
· Be under positive air pressure, thereby preventing contamination from soiled areas |  |  |  |  | Good
§ Policies and protocols should reflect a facility-specific strategy for ensuring the hygienically clean quality of the stored, processed textiles and should include the following
· Schedule of visual inspection of stored textiles and recording of observations.
· Remediation plan in response to customer returned, moist textiles
§ Spec for clean textile storage shelving
· Shelves will be placed approx. 2 inches from the wall to safeguard package integrity
· The bottom shelf will be free from visible soil and at a minimum of 8 inches from the floor for accessible cleaning and shall be of solid non porous construction
· Top shelf shall be a minimum of 18 inches below the ceiling to prevent the impairment of ventilation, sprinklers, and lighting
· Cardboard must not be used as shelf liner in clean textile storage
o Other fixtures and signage
§ Hand hygiene resources must be available in or around all work areas and personnel support areas
§ Emergency eyewash/shower equipment must be available with unobstructed access (w/in 10 sec.) for immediate emergency use in all areas where chemicals are used and stored
§ Safety features (emergency lighting, signage, fire alarms, door accessibility, etc..) must be evident and operational to safeguard persons and personnel
· Physical plant and equipment maintenance
o Maintenance of equipment and spaces in laundry processing healthcare textiles will follow documented providers policies and procedures
o Cleaning, decontamination and disinfection
§ Physical environment shall receive, per policy, scheduled cleaning based on the surface, level of contamination, operation performed
· Cleaning schedule will be maintained current and posted for inspection
§ Environmental surfaces subjected to periodic blow down from ceiling downward to minimize lint/dust buildup
· Performed when no other processing is occurring
§ Working surfaces must be kept clean of soil dust and lint with cleaner/water
§ Working surfaces contaminated with blood or OPIM must be decontaminated, cleaned and disinfected
· Must use EPA registered hospital disinfectant labeled tuberculocidal or listed on EPA list D and or E with label claims for HIV/HBV according to label instructions
§ Working surfaces contaminated with body substances other than blood or OPIM must be decontaminated, cleaned and disinfected with EPA registered hospital disinfectant
according to label instructions
§ contaminated work surfaces must be decontaminated, cleaned and disinfected with EPA registered hospital disinfectant according to label instructions after completion of
soiled textile handling
· Immediately or ASAP when visibly contaminated
· At the end of the shift if contamination may have occurred since last cleaning
§ Work practices when using commercial washer extractors
· Cleaning and disinfection
o Surfaces used to both load and unload must be non porous and easily cleaned
o Cleaning and disinfection of surfaces used to both load and unload must be consistent with principles of functional separation
o Spot cleaning of visible soiled surfaces used to both load and unload washer extractors must be done asap after contamination
§ Use appropriate disinfectant for type of soil
§ Work flow and functional separation
· Functional and physical separation of soiled and clean textiles must be followed
· If using a sling delivery system, clean textiles must not be stored under slings
§ Hand washing and PPE must be in accordance w/ Part I, sub.5, sect. 5.3 and 5.4, statements 5.3.3.1 and 5.4.1.4 of HLAC standard
o Pest control program
§ Must have documented current IPM (integrated pest management) program consistent with healthcare practices
o Management of foreign items and regulated wastes
§ Misc foreign items
· Follow customer policy for returning items found
· Especially if personal information is involved
§ Regulated medical waste management
· Written plan/agreement with customer detailing procedures for biohazard handling
o Must be in accordance with local regulations or the authority having jurisdiction (AHJ)
o Documentation must be available for review
o Appropriate containers must be used (sharps, etc)
§ Hazardous materials and pharmaceutical waste management
· Compliance limited to those with affirmed experience with customers that send textiles contaminated with hazardous substances for laundering
· Must be handled according to federal regulations
· Provider will reject items contaminated if customer fails to adhere to proper waste management practices
· Provider – customer policy and procedures for hazardous materials and pharmaceutical waste management shall include indication that issue has been addressed
o Provider and customer must establish a mutually agreeable course of action for addressing management of contaminated textiles (discard, etc..)
· Piped air, water, wastewater, and chemicals management
o Facility documents must contain compliance with local or AHJ as they pertain to air, water and chemical management
o Must be evidence of waste water/air quality compliance if applicable
o Compliance with hazardous chemical regulation, CSAT, and local must be documented and available for review
3. Contingency Planning
· Plan for uninterrupted operations service in case of
o Loss of utilities
o Medical emergencies
o Natural or man made disaster
o Fire
o Inclement weather
o Work stoppage
o Major accidents
· Contingency plan to include
o Plant & transportation contingency protocol
§ Step by step procedure in case of an emergency & be available to supervisors
§ Workers need to be familiar with major elements of contingency
o Call chain
§ Written, complete, current, and available to personnel
§ Maintained by designated person. Update at annually or when changes occur
o List of backup laundry facilities
§ Written agreement in place with one or more alternative laundry provider that can cover full volume
§ Update annually -signed & dated
o Backup source of textiles
§ Written agreement in place for alternate textile suppliers
4. Laundry Equipment
· Documentation
· List of all equipment kept on file
· Occupancy permit kept on file if available
· Documentation concerning safety equipment
o Provider to verify that manufacturer has provided safety instructions& potential hazards associated with equipment use.
o Provider to provide documentation to ensure that equipment incorporates appropriate safeguards..
o Provider to demonstrate equipment complies with ANSI safe equipment operation & maintenance
· Documentation concerning equipment maintenance
o Maintenance personnel should have access to equipment manuals
o Provider should retail evidence of ongoing maintenance program including work orders & current inspection tag
o Preventive maintenance should be documented and kept on file
· Installation & Utility connections
o Equipment installation should involve trained qualified installers appropriate utilities & support services compliance with manufacturers instructions and functioning
safety equipment specified by manufacturer
o Before any piece of equipment is commissioned into service or after maintenance or repair it should be verified that performance meets manufacturer specs
o Machinery connected to utilities shall appear to be properly installed and operating correctly
§ Providers shall ensure safe and correct connection of any piece of equipment to utilities as appropriate and that the connection includes proper controls for incoming utilities
§ Electrical power supplied to processing equipment shall be installed in conformance with local electrical and fire codes to prevent fires.
§ The gas supply shall conform to the equipment manufacturer’s specs
§ The connection of equipment to gas line must be done by a licensed person authorized by state regs to perform this function
§ Steam supply and its quality shall conform to the equipment manufacturers recommendations and any state regs
o Water quality
§ The provider should determine whether pretreatment of water to be used for processing is needed, the appropriate type of pretreatment, compatibility between
pretreatment and chemicals to be used in processing and local wastewater disposal guidelines.
§ The provider should consider softening their water when hardness is 2 grains/gallon or higher
o Equipment Operation
§ The commercial equipment shall be appropriate for laundry operations
§ The proper functioning of equipment shall involve correct utilities, mechanical systems automated controls and support systems according to manufacturers specs
§ Mechanical system should function according to manufacturer specs including but not limited to valve openings and closures, water level in inches for each level setting.
Tilting for loading and unloading, temperature sensor design, correct operational safety features, and speed and direction of drum rotation.
§ Automated controls should be verified, calibrated, and checked at least annually
§ The performance of chemical delivery system should be checked at least monthly by verifying delivery rates or conducting chemical titrations.
§ The design of size of water heater equipment should be appropriate for providers needs at peak operating times and in order to maintain
specified heater water temps at desired cycle.
o Preventive Maintenance
§ Equipment shall be inspected cleaned and receive scheduled preventive according to manufacturers instructions or according to facility policy and procedures if
instructions are not available.
§ Preventive maintenance shall include replacement of worn expendable parts lubrication and calibrations
o Equipment calibration
§ Equipment should be calibrated periodically as specified in the manufacturer’s instruction manual or as determined by facility policy and procedures if not available.
§ Calibration should be performed by personnel trained and or certified in calibration specified by the manufacturer
o Repiars
§ Worn malfunctioning or broken parts should be replaced promptly by qualified personnel
§ Safety precautions including lock out/tag out procedures must be observed.
o Record keeping for new existing and/or used equipment
§ Maintenance record shall be kept on file for each piece of equipment
§ The following information shall be recorded
· Service details
· Equipment details
· Parts and repair details
· Personnel involved
5. Laundry Personnel
5. Laundry Personnel
5.1. Personnel Qualifications
5.1.1. The provider shall establish hiring policies and procedures based on all applicant local regulations or the AHJ employment laws.
5.1.2. All personnel shall be qualified for their positions through education, training, or level of prior experience, and these qualifications shall be documented in employee files.
5.1.3. Clearly defined job descriptions for all personnel, including front-line supervisors, shall be in place
and include qualifications, responsibilities, and assignments.
5.1.4. New personnel shall work under the close supervision of qualified personnel until they have demonstrated competency in the given task or procedure.
5.2. Personnel General Responsibilities
5.2.1. Supervisors/managers shall: (ANSI/AAMI ST65:2008 Std. 4.2.1; ANSI/AAMI ST79:2010 Std. 4.2.1)
5.2.1.1. Ensure that tasks are performed by qualified personnel;
5.2.1.2. Document or staff can articulate or demonstrate manufacturer's instructions;
5.2.1.3. Recognize process and equipment malfunctions;
5.2.1.4. Develop and interpret policies and procedures for all aspects of healthcare textile
processing;
5.2.1.5. Develop and correctly implement an Exposure Control Plan; and
5.2.1.6. Correctly interpret textile labels and recommended instructions for processing and handling.
5.2.2. Personnel shall:
5.2.2.1. Safely and correctly operate assigned equipment;
5.2.2.2. Safely and correctly perform assigned processing activities;
5.2.2.3. Correctly interpret and safely implement the Exposure Control Plan;
5.2.2.4. Recognize and understand potential hazards from equipment defects and improper performance of the job; and
5.2.2.5. Understand the risk of injury that defective or improperly operating equipment may inflict.
5.3. Health and Hygiene
5.3.1. The provider shall have policies and procedures, addressing the health status of laundry workers (i.e., illness, open wounds or sores, and skin injuries) to prevent contamination of healthcare textiles.
5.3.2. Employee Safety:
5.3.2.1. Personnel must adhere to good work practices to minimize or eliminate exposures to blood, OPIM, chemical, and mechanical hazards. This includes, but is not limited to:
5.3.2.1.1. The use of personal protective equipment (PPE) when handling contaminated and soiled textiles; (OSHA: 29 CFR 1910.1030 (d)(3)(ii))
5.3.2.1.2. The safe operation of equipment;
5.3.2.1.3. Documentation of OSHA Lock-Out Tag-Out requirements; (OSHA 29 CFR 1910.147 App
5.3.2.1.4. Hazard communications; and (OSHA: 29 CFR 1910:1200)
5.3.2.1.5. Safe transportation and the proper handling of textiles.
5.3.2.2. Eating, drinking, smoking, applying cosmetics or lip balm, and handling contact
lenses must be prohibited in work areas where there is a reasonable likelihood of occupational exposure to bloodborne pathogens (BBP). [OSHA: 29 CFR 1910.1030 (d)(2)(ix)]
5.3.2.3. Provider personnel must handle chemicals safely in accordance with Material Safety
Data Sheets (MSDS) in the laundry facility. (OSHA: 29 CFR 1910.1200; ANSI/AAMI ST65:2008; Std. 3.3.10)
5.3.2.3.1. MSDS information shall be readily accessible to employees in a location for immediate access where chemicals are handled.
5.3.2.4. Personnel who are exposed to hazards (e.g., biological, chemical, mechanical) shall report
such occurrences to their supervisor according to the provider’s policies and procedures. [OSHA: 29 CFR 1910.1030 (f) (3) (vii) (K); CDC HICPAC GL IC HCP, 1998: II.B.4]
5.3.3. Hand washing and hand hygiene indications:
5.3.3.1. Provider personnel must wash hands after restroom use, before eating, and when hands become inadvertently contaminated with blood, OPIM, or other body substances.
5.3.3.2. Provider personnel shall practice hand hygiene (handwashing or using alcohol-based hand sanitizers) after removal of gloves.
5.3.3.3. Personnel responsible for packing, wrapping, storing, or transporting clean textiles shall maintain proper hand hygiene at all times. (ANSI/AAMI ST65:2008 Std. 4.4]
5.4. Personal Protective Equipment (PPE) and Attire
5.4.1. Personal protective equipment:
5.4.1.1. The provider must supply the PPE to personnel in the workplace. [OSHA: 29 CFR
5.4.1.2. Contaminated disposable PPE (e.g., gloves) must be discarded into appropriately labeled waste containers. [OSHA: 29 CFR 1910.1030 (d)(iii)(8)]]
5.4.1.3. Reusable PPE (e.g., aprons or overalls) penetrated by blood or OPIM must be
removed immediately or as soon as feasible and be laundered by the provider. [OSHA: 29 CFR 1910.1030
5.4.1.4. PPE must be changed if moving from an area where soiled operations were performed into an area where clean operations are performed. (ANSI/AAMI ST79:2010 Std. 4.5.2)
5.4.1.5. All PPE must be removed prior to leaving the work area. [OSHA: 29 CFR 1910.1030 (d)(3)(vii); ANSI/AAMI ST79:2010 Std. 4.5.1]
5.4.1.5.1. A proper receptacle must be available for the disposal of PPE.
5.4.2. Personnel attire and adornments:
5.4.2.1. All personnel shall wear dry garments without visible soil or dirt in accordance with the
provider’s policies and procedures. (ANSI/AAMI ST65:2008; Std. 4.5; ANSI/AAMI ST79:2010 Std. 4.5)
5.4.2.2. For safety reasons, loose or dangling jewelry or rings shall not be worn. (ANSI/AAMI ST65:2008; Std. 4.5; ANSI/AAMI ST79:2010 Std. 4.5)
5.4.2.3. Hair covering shall be used where deemed appropriate and/or within provider’s written
policies and procedures. (ANSI/AAMI ST65:2008; Std. 4.5; ANSI/AAMI ST79:2009 Std. 4.5)
5.4.2.4. Artificial nails must not be worn in the laundry and while processing healthcare textiles.
5.4.2.5. Personnel who handle clean or soiled healthcare textiles shall change work garments daily
and whenever their garment becomes soiled. (ANSI/AAMI ST65:2008 Std. 4.5.1; ANSI/AAMI ST79:2010 Std. 4.5.1)
5.5. Occupational Safety and Health Elements
5.5.1. Provider must implement an occupational safety and health program based on the OSHA Bloodborne Pathogen Standard and Universal Precautions to prevent
employee exposure to or contact with blood or OPIM. [OSHA: 29 CFR 1910.1030 (c)(1)(i)]
5.5.2. Exposure Control Plan (ECP):
5.5.2.1. The provider must develop an Exposure Control Plan (ECP) that contains, but is not limited to the following: [OSHA: 29 CFR 1910.1030 (c)(1)(ii)]
5.5.2.1.1. Schedule for compliance (i.e., when each part of the Plan is accomplished in the facility). [OSHA: 29 CFR 1910.1030 (c)(1)(ii)(b)]
5.5.2.1.2. Procedure for evaluating the circumstances surrounding exposure incidents.
5.5.2.1.3.1. A list of all job classifications in which all personnel in those job classifications have occupational exposure, [OSHA: 29 CFR 1910.1030 (c)(2)(i)(A)]
5.5.2.1.3.2. A list of job classifications in which some personnel have occupational exposure, and [OSHA: 29 CFR 1910.1030 (c)(2)(i)(B)]
5.5.2.1.3.3. A list of all tasks and procedures that are performed by personnel in a job
classification where exposure may exist. [OSHA: 29 CFR 1910.1030 (c)(2)(i)(C)]
5.5.2.1.4. The Exposure Control Plan must be accessible to all personnel. [OSHA: 29 CFR
5.5.2.1.5. The Exposure Control Plan must be reviewed and updated at least annually.
5.5.3. Develop a hepatitis B vaccination program: [OSHA: 29 CFR 1910.1030 (f)]
5.5.3.1. Records must reflect the offering of hepatitis B vaccine by the employer and the acceptance OR documented refusal of the personnel. [OSHA: 29 CFR 1910.1030 (f)(1)(i)]
5.5.3.2. Hepatitis B vaccine must be offered to employees upon hire if they are candidates for vaccination. [OSHA: 29 CFR 1910.1030 (f)(2)(i)]
5.5.4. Develop a standing process for post exposure management for blood and/or OPIM.
5.5.4.1. Records must reflect a standing process for post-exposure management for blood and/or OPIM. [OSHA: 29 CFR 1910.1030 (h)(3)(i)]
5.5.5. Personnel who are potentially exposed to occupational biological hazards may be monitored in a systematic program of serologic testing and HBV testing intended to prevent occupational injury and disease.
5.5.6. Develop a hazardous materials (e.g., non-biological, chemical, radiological) safety plan and
policy:
Note: Compliance with statement 5.5.6. and its sub-statements is limited to those providers who
have affirmed current experience with customers who send textiles contaminated with hazardous substances for laundering.
| 5.5.6.1. Where laundry workers may be exposed to textiles contaminated with potentially hazardous substances from the customer, a written hazardous substance safety plan must be developed. | (OSHA: 29 CFR 1910.1200; The OSHA Technical Manual: Haz Drugs, Sec 6, Chap 2)
| 5.5.6.1.1. The hazardous substance safety plan must be readily available and accessible to all personnel (i.e., full-time employees, temporary employees, contractors, and trainees). | (OSHA: 29
CFR 1910.1200; The OSHA Technical Manual: Haz Drugs, Sec 6, Chap 2)
| 5.5.6.1.2. The hazardous substance safety plan must be reviewed and updated as appropriate at least annually. | (OSHA: 29 CFR 1910.1200)
5.5.6.2. Where laundry workers may be exposed to textiles contaminated with potentially hazardous substances from the customer, the provider must develop a policy for
management of hazardous substance-contaminated textiles that includes, but is not limited to:
5.5.6.2.1. Wash process;
5.5.6.2.2. PPE requirements for affected employees;
5.5.6.2.3. Training records for these employees; and
5.5.6.2.4. Written record of provider/customer discussion regarding proper containment for hazardous substance contaminated textiles.
5.5.7. All vehicle drivers must meet all requirements of the federal and state Department of
Transportation (DOT). (www.dot.gov)
5.5.7.1. The provider must maintain documentation of this compliance and make it available for inspection.
5.6.1.1. Personnel shall receive standard safety training in all aspects of laundry operations applicable to their respective position(s), including, but not limited to safe
operations of equipment as per manufacturer instructions and notification procedures when malfunctions occur.
5.6.1.2. Training options should include, but are not limited to the following:
5.6.1.2.1. In-plant (in-service) training sessions facilitated by a person experienced in the topic;
5.6.1.2.2. Formal external training programs, including classes, workshops, and seminars.
5.6.1.3. Personnel shall receive the provider’s standard training for the correct handling of
healthcare textiles. Topics shall include:
5.6.1.3.1. The specific types of fabrics being processed;
5.6.1.3.2. Appropriate surgical textiles pack processes according to each pack’s use
requirements; and
5.6.1.3.3. Proper use, placement, and heat-sealing process for patching surgical textiles. (ANSI/AAMI ST65:2008 Stds. 4.2.2., 4.3, 7.2.1)
5.6.1.4. A copy of the grading standards should be included in the annual training package for each
affected employee.
5.6.2. Bloodborne Pathogens Exposure Control Training:
5.6.2.1. Key topics for this training must include, but are not limited to:
5.6.2.1.1. Personal hygiene and proper handwashing/hand hygiene techniques; (CDC HICPAC GL Hand Hygiene 2.A-D; CDC HICPAC GL IC HCW, 1998: II.B.3)
5.6.2.1.2. Use of PPE appropriate to the task, including one or more of the following, but
not limited to, gloves, gowns, aprons, and masks; [ANSI/AAMI ST65:2008; Std 4.5.2; CDC HICPAC GL IC HCW, 1998: II.B.3; OSHA: 1910.1030 (d)(3)(ii)]
5.6.2.1.3. Engineering controls and work practices to minimize the risk of exposure to
blood or OPIM; [OSHA: 1910.1030 (d)(2)(i)]
5.6.2.1.4. Orientation on the provider’s Exposure Control Program;
5.6.2.1.5. Orientation to hazard communications, including labeling and color-coding; and
5.6.2.1.6. Post-exposure procedures, including immediate action, treatment, follow-up, and record keeping. [OSHA: 29 CFR 1910.1030 (f)(3); CDC HICPAC GL IC HCW, 1998: II.B.3-5; E-F]
5.6.3. Hazardous Substance Contaminated Textiles training:
Note: Compliance with statement 5.6.3. and its sub-statements is limited to those providers who have affirmed current experience with customers who send textiles
contaminated with hazardous substances for laundering.
5.6.3.1. Key topics for this training must include, but are not limited to:
5.6.3.1.1. Exposure risk to textiles contaminated with hazardous substances or excreta from patients who have received hazardous substances (e.g., radioisotopes,
chemotherapeutics) in the past 48 hours; (CDC HICPAC GL IC HCW, 1998: II.B.4.c; E-F)
5.6.3.1.2. Communications among supervisors and employees for hazardous substance management procedures;
5.6.3.1.3. Identification and segregation, and identification of soiled textiles from patients exposed to hazardous substance contaminated, reusable textiles in bags
designated solely for the containment of reusable hazardous substance exposed textiles;
5.6.3.1.4 Use of PPE including one or more of the following, but not limited to, gloves, gowns, and eye protection, if splashing is possible;
5.6.3.1.5 Hand hygiene; and
5.6.3.1.6. Disposal of contaminated one time use PPE in thick, leak-proof colored or labeled plastic bags for hazardous substances-related wastes.
5.6.3.1.7. Proper handling of other reusable PPE. (OSHA: 29 CFR 1910.1200; The OSHA Technical
Manual: Haz Drugs, Sec 6, Chap 2; NIOSH Publication No. 4; 2009)
5.6.4. Department of Transportation (DOT) regulations training:
5.6.4.1. Key topics in this training must include, but are not limited to:
5.6.4.1.1. Random drug testing;
5.6.4.1.2. Operator training;
5.6.4.1.3. Certified driver license requirements; and
5.6.4.1.4. Bloodborne pathogens exposure. (www.DOT.gov )
5.6.5. Training Documentation
5.6.5.1. All training must be documented in writing and kept on file for 3 years from the date of training.
5.6.5.2. The documentation must include, but is not limited to: [OSHA: 29 CFR 1910.1030 (h)(2)(i)(A-D),
5.6.5.2.1. Dates and times of training;
5.6.5.2.2. Method of training;
5.6.5.2.3. Topic;
5.6.5.2.4. Trainer’s name, title, signature and qualifications;
5.6.5.2.5. Copies of printed training materials;
5.6.5.2.6. Validation that the training objectives and a minimum level of competency were
achieved; and
5.6.5.2.7. Certificates or signature proof of personnel’s attendance.
6. Laundry Customers
6.1. Provider Policy
6.1.1. The provider should have a policy on file that reflects the interaction with customers as described in the following statements of this subpart.
6.2. Contact
6.2.1. The provider shall maintain a written list of all customer contacts for access of information exchange and service.
6.2.2. The provider shall have a 24/7 customer service capability to receive customer messages (e.g.,
voicemail, Email).
6.3. Visitation
6.3.1. The provider shall make their plants available to customers and prospective customers for inspection.
6.3.2. An authorized provider representative(s) shall annually visit the customer’s healthcare facility for
the purpose of conducting a walk-through of all areas where healthcare textiles are used, collected, transported or stored.
6.3.3. An authorized provider representative(s) shall annually meet with the customer’s representative(s)
to determine the textile products used, expected textile usage, and their service expectations.
6.4. Customer Complaints
6.4.1. The provider shall maintain a written log of administrative or policy issues or problems with customers, including names of personnel involved and the resolution. (JCHLGL Guidelines for Healthcare Linen Service,
1994; 11.B)
7. Quality Assessment
7.1. General Rationale
7.1.1. Textile products used in healthcare facilities shall be of a quality to ensure patient and healthcare
personnel comfort and textile durability.
7.2. Quality Control
7.2.1. Textile quality shall be defined and documented between the provider and the customer.
7.2.2. The provider processing COG textiles shall comply with pre-established textile maintenance standards as specified by each customer.
7.2.3. Defined quality standards shall keep mending and patching to a minimum.
7.2.4. The entire processing cycle shall have documented quality control procedures to ensure the cleanliness and serviceability of the textiles.
7.2.4.1. These procedures should include requirements to rewash, repair, or replace textiles as
necessary to maintain quality standards.
7.2.4.2. Traffic patterns shall be planned and posted to minimize the potential for contaminating clean textiles.
7.2.4.3. Traffic in all areas of the facility shall be limited to authorized personnel only as outlined in
the provider’s policies and procedures. (ANSI/AAMI ST65:2008; 3.2.4; ANSI/AAMI ST79:2010; Stds. 3.2.4, 8.9.2)
7.3. Quality Assurance
7.3.1 The provider shall have written policies and procedures, covering all areas of responsibility relating to services provided to the customer. (ANSI/AAMI ST65:2008; Stds. 6.4, 11.4)
7.3.2. The provider shall maintain records of any laundry processing and/or quality assurance problems experienced and mutually agreed upon solutions.
7.3.2.1. A customer call log may be used for this purpose.
7.3.3. The provider and personnel shall periodically review the entire service program (i.e., safe and efficient work environment, competency of the workforce, and quality
assurance of the textile process and product) and make adjustments as necessary and appropriate.
7.3.3.1. This should be accomplished through monthly reports, regularly scheduled meetings with
personnel, and/or annually.
7.3.3.2. Adjustments should be documented and filed for future use or reference.
7.3.4. Each classification of healthcare textiles shall be evaluated and/or tested to assure the established standards are met.
7.4. Process Monitoring
7.4.1. Providers shall engage in process monitoring to verify that ongoing operations are producing clean textiles that will meet customer expectations and needs.
7.4.2. Providers shall prepare detailed process monitoring checklists and use them to document key
elements of laundry processing.
7.4.2.1. Process monitoring checklists shall include, but are not limited to, the following items:
7.4.2.1.1. Chemical supplies:
7.4.2.1.1.1 The provider shall verify with the manufacturer and chemical supplier that laundry chemicals are appropriate for the equipment in accordance with the equipment
manufacturer, textile classifications, and water temperatures being used.
7.4.2.1.1.2. Every chemical used must have an MSDS on file.
7.4.2.1.1.3. Every chemical must have an appropriate label on every container into which the chemical is placed in accordance with OSHA Hazard Communications Standard.
7.4.2.1.2. Water:
7.4.2.1.2.1. Incoming water shall be tested for hardness, alkalinity (active and total), iron
content, and pH.
7.4.2.1.2.2. Testing shall occur on a regular basis, at a minimum monthly or more often
during periods of abnormal water conditions (e.g., when water quality advisories are issued by the municipal water utility).
7.4.2.1.2.3. The provider's wash formula may require adjustment based on these factors.
(ANSI/AAMI ST65:2008; Std. 6.4.2.4)
7.4.2.1.3. Titration: (ANSI/AAMI ST65:2008; Std. 6.4.4)
7.4.2.1.3.1. Monthly titrations of the correct wash chemistry shall be performed according to the formula for each major classification of soil. (ANSI/AAMI ST65:2008; Std. 6.4.3.e)
7.4.2.1.4. Systems and procedures must be in place to ensure that the provider’s use of
air, water, chemicals, and other materials is in compliance with federal and state regulations.
7.4.2.1.5. Load size:
7.4.2.1.5.1. Load size shall follow the equipment manufacturer’s recommendations where
available.
7.4.2.1.5.2. Each load shall be weighed, using a calibrated scale.
7.4.2.1.5.3. The scale shall be inspected and calibrated by an outside auditor on a
scheduled basis, but at a minimum annually; and the results made available to the customer upon request.
7.4.2.1.6. Equipment:
7.4.2.1.6.1. All provider equipment shall be included in the provider’s Preventive
Maintenance (PM) Program and checked on a regular basis as defined by the manufacturer for proper operation.
7.4.2.1.6.2. Typically, a chemical titration and service report from the provider’s chemical supplier’s technician should have all this information.
7.4.2.1.6.3. Automatic equipment dispensers shall also record the chemical injection amounts and times by classification. (ANSI/AAMI ST65:2008; Std. 6.4.3)
7.4.2.1.6.4. Ironer temperatures shall be based on the equipment manufacturer’s manual
and recommendations appropriate for the type of fabric being processed.
7.4.2.1.7. Finished products:
7.4.2.1.7.1. The quality of finished products shall be maintained as pre-defined by the customer and shall be sufficient to meet the needs of the customer.
7.4.2.1.7.2. A variety of process monitors should be used to indicate how the provider
process has performed including:
7.4.2.1.7.2.1. Rewash rates;
7.4.2.1.7.2.2. Color transfer;
7.4.2.1.7.2.3. pH spot tests; and
7.4.2.1.7.2.4. Residual chlorine spot tests.
7.4.2.1.8. Employee competency:
7.4.2.1.8.1. Supervisors shall verify employee competency from training documentation (see
Part I, Subpart 5, statement 5.6.5 of this HLAC Standard) and mark the checklist accordingly.
7.5. Accounting
7.5.1. The provider shall have reliable and accurate procedures to weigh and/or count textiles and have accurate billing procedures based on these weights or counts.
7.5.2. The provider shall obtain the customer’s written agreement to these procedures and maintain this
on file.
THE TEXTILE PROCESSING CYCLE
1. Handling, Collection, and transportation of soiled healthcare textiles
· Universal Precautions
o All soiled healthcare textiles must be assumed contaminated
o Apply to all personnel that handle soiled textiles during moving, containing, loading, unloading, and sorting
· Handling and collection
o All healthcare textiles must be handled and collected in accordance with federal and local regulations or those of the AHJ, therefore minimizing exposure to blood borne
pathogens or other infectious agents
o Handled and collected with minimal agitation at all times to prevent contamination of air, surfaces, persons etc..
· Soiled textile containment for laundries not using universal precautions |  |  |  |  | Not applicable
o Collection bags or containers |  |  |  |  | Not applicable
§ Providers must stipulate in contract that customers |  |  |  |  | Not applicable
· must select soiled textile containment that will contain wet and soiled textiles, preventing contamination to environment during collection, transport, and storage |  |  |  |  | Not applicable
· must utilize soiled containment that will not tear when loaded to capacity, and close securely |  |  |  |  | Not applicable
· must use containment labeling and or color coding |  |  |  |  | Not applicable
o must ensure soiled textiles are placed and transported in containers that are specially labeled or coded to distinguish them from uncontaminated laundry when releasing |  |  |  |  | Not applicable
|  |  | both types for pick-up |  | Not applicable
§ Provider must ensure that personnel are trained to recognize labeling/color coding and distinguish them from uncontaminated laundry |  |  |  |  | Not applicable
o Textiles contaminated with hazardous substance must be placed in specially marked containers, then placed in labeled impervious containers that prevent soak through or leakage |  |  |  |  | Not applicable
o Reusable collection containers |  |  |  |  | Not applicable
§ Must withstand repeated decontamination |  |  |  |  | Not applicable
§ Must be appropriately identified (labeled) |  |  |  |  | Not applicable
· Transportation
o Provider must maintain functional separation of soiled/ clean textiles in carts and or vehicles at all times during collection, transport and handling
o functional separation must be maintained by
§ bagging soiled textiles in fluid resistant containers
§ anchoring soiled containers in vehicle to prevent spillage from container
§ training personnel on proper bagging and placement of textiles in transporting vehicle
§ ensure all personnel with this responsibility follow universal precaution when necessary
· Carts used for soiled textiles
o Carts, containers, covers and liners used to collect or transport soiled textiles must be cleaned and disinfected after emptied and before any next use clean or soiled
o If state regulation or AHJ indicates carts used for soiled cannot be subsequently used to transport clean, must comply
o Proper cleaning should include any of the following
§ Steam cleaning
§ Detergent and water
§ Using EPA hospital grade detergent/ disinfectant
· EPA registered products must be used according to label instructions, and on surface for full contact time
2. Sorting
· Surfaces must be cleaned & disinfected
· All employees who handle soiled textiles must follow universal precautions & use appropriate PPE for task
· Soiled textiles sorted by wash load classifications or type of goods
· Laundry bags with contaminated hazardous materials must be prewashed & textiles added in 2nd wash
· Foreign objects removed during sort process should be returned to customer if applicable
· Surgical instruments placed in separate designated container & returned to customer
· Disposable instruments placed in separate designated container & returned to customer
· Patient info found should be placed in separate designated container & returned to customer
· Written sharps policy that includes
o Sharps containers-closeable puncture resistant, leak proof on sides & bottom, & labeled or color coded
o Must be located near soiled sorting area
o Personnel injured by sharps must follow OSHA’s res on injury documentation, post exposure evaluation, & follow up.
3. Washing & Extracting
· Document equipment requirements in processing healthcare textiles
· Follow fabric care instructions to insure hygienically clean textiles
· Healthcare textiles should be only washed with other healthcare textiles (not mop heads, mats)
· Load size should be established and recorded for each load processed
o Equipment manufacturers should be consulted when configuring load size
· Established standards for
o Cycle time
o Water level/usage
o Temperature
o Chemical usage
· Demonstrate that wash process are in compliance with state & local requirements (look at this one in standards book)
· If soiled textiles received are labeled hazardous materials
o Pre-wash contaminated textiles in washable laundry bag separate from other textiles
o Second wash process with other soiled textiles prior to drying
· Extract textiles in manner that preserves integrity of textiles minimizes microbial growth after washing, & prepares textiles for efficient ironing/folding
· Damp textiles should not be inappropriately stored as this facilitates microbial growth
4. Drying
· Dryers in good operating condition
· Drying procedures shall be described, controlled, monitored for each textile classification to ensure proper drying
· Hot loads subjected to cool down before handled by employees & minimize wrinkling
5. Finishing
· Ironers should be maintained in good working condition so they adequately iron, dry, fold without excessive heat or mechanical damage
· Temp appropriate for fabric & based on manufacturer recommendations
· Documentation of monthly temps & preventive maintenance
· Folding & stacking procedure shall ensure that the textiles maintain the same hygienically clean state achieved from washing
· Folding/stacking procedures meet the needs of customer
· If textiles become soiled in the folding process the textiles shall be rewashed
· Healthcare textiles shall be preserved in a hygienically clean state for delivery to customer
· Textiles to be wrapped in fluid resistant bundles or placed unwrapped into fluid resistant covered carts or hampers
o Wrapping material should be plastic or other material that will protect from soiling or contamination
o Cart shall be securely closed during transport to customer
· If any textiles become soiled during any stage of finishing processing they must be rewashed and reprocessed
6. Storage
· Storage methods shall preserve textiles in hygienically clean state for delivery
· Stock shall be rotated in first in/first out
· Unwrapped textiles shall be storedin designated storage rooms, areas, or carts
o Only clean textiles shall be stored in area posted “Textile Storage Room”
o Storage area/room cleanliness
§ Schedule of surface cleaning area
§ If disinfection required use EPA registered hospital disinfectant
o Storage area entry & exit
§ Door to remained closed at all times except for exit/entrance
§ Accessible by authorized personnel
o If unwrapped textiles are placed on cart they shall remain covered at all times until they reach customers designated location
o If cart does not have solid bottom it must be lined with hygienically clean barrier that prevents
environmental contamination before placing clean textiles in it.
o If textiles become soiled during storage they must be rewashed and reprocessed
7. Delivery of cleaned healthcare textiles
· Rationale
o Clean healthcare textiles must be transported, delivered and stored by methods designed to minimize microbial contamination from surface contact or airborne deposition
· Delivery methods
o Clean linen shall be transported in containers used exclusively for this purpose and or but not limited to the following
§ Clean textiles shall be in a hamper lined with a clean liner
· Hamper is to be covered or liner closed to protect contents
§ Clean textiles will be placed in a cart, with a clean, secured cover
· When the cart contains clean textiles, the textiles will be wrapped inside the cart
· If the clean textiles are not wrapped inside the cart, the bottom of the cart must be lined with a hygienically clean barrier preventing environmental contamination and
securely covered
§ Clean textiles shall be place on a wire rack and suitably covered
o Clean textiles will be wrapped for delivery
· Cart function and cleanliness
o Carts will be maintained well with wheels free rolling and clean
o Cleanliness
§ Carts shall be cleaned in accordance with guidelines set forth in section related to soiled textile carts
· Proper cleaning should include any of the following
o Steam cleaning
o Detergent and water
o Using EPA hospital grade detergent/ disinfectant
o EPA registered products must be used according to label instructions, and on surface for full contact time
§ Carts containers reusable covers and liners used fro clean textiles will be cleaned and disinfected after cart is emptied and returns to facility
§ Reusable cover materials (liners, covers, etc..) must be washed before the next use
§ If a cart used to transport clean textiles appears soiled, it must be cleaned and disinfected before next use
· Vehicle considerations
o Functional separation
§ Clean and soiled textiles transported in the same vehicle must have proper and effective functional separation maintained
§ Separation will be achieved through physical barriers, and or space separation sufficient to protect clean textiles from contact with soiled
o Vehicle cleanliness
§ The interior of the cargo area shall be cleaned regularly per policy and procedure and whenever visibly soiled
§ If contaminated with blood or OPIM, must be decontaminated, cleaned and disinfected
· Must use EPA registered hospital disinfectant labeled tuberculocidal or listed on EPA list D and or E with label claims for HIV/HBV according to label instructions
o Occupational safety for drivers
§ Hand care
· Must have waterless antibacterial hand cleaner on board
· If visible soil is apparent, driver will use utility gloves to minimize contact with soiled textiles
· Hand washing with soap and water must be done at the soonest opportunity upon glove removal
· Must have PPE and spill kits on board for self protection while cleaning and disinfecting spills according to provider policy and procedure